## Instructions and Guide
Provider Quality Assurance (QA) Guide Adult Care Homes 10A NCAC 13F .0300 Physical Plant Family Care Homes 10A NCAC 13G .0300 The Building
Disclaimer: The information in this QA Guide & Tool is intended to provide general guidelines for assessing compliance with the applicable rules and regulations. This is not an all-inclusive or comprehensive list. Reference rules and regulations and "Crosswalks" for adult and family care homes.
Facility Name: | Document Facility name as indicated on the license
QA Date: | Document date(s) QA completed in this rule area
Staff Name: | Document staff name who is completing the QA check
Areas to Review: | Use the information below as guide to identify the areas of the facility to be assessed as related to the rule areas.
Concerns Identified: | Identify compliance/non-compliance by using "Yes" or "No"
Yes: | Mark "Yes" if concerns and/or non-compliance is identified
No: | Mark "No" when concerns/non-compliance have not been identified
Areas of Concern: | Use this section to document comments when marked "Yes" that concerns were identified.
Facility is maintained in an uncluttered, clean, and orderly manner free of obstructions and hazards | This includes the overall interior and exterior environment of the facility which should be maintained in an uncluttered, clean, and orderly manner which does not pose health or safety hazards. The facility should be free of pests and vermin such as rodents, roaches, bed bugs, and etc. The facility shall have an adequate supply of soap, towels, washcloths, toilet paper. There should clean linens and bed coverings.
Furnishings are clean, safe, and functional | This includes but is not limited to furnishings such as living and dining room furnishing, bedroom furnishings and mattresses.
Walls, ceilings, floors, and floor coverings are clean, safe, and functional | This applies to interior and exterior areas of the facility. Observe areas such as residents' rooms, hallways, living room, dining room and other common areas inside and outside of the facility that residents utilize. Clean, safe, and functional means items do not pose any risk to the health or safety of residents.
Mechanical, electrical, and plumbing equipment, and major appliances are maintained in a safe and operating condition | This may include but is not limited to: Plumbing equipment such as bathroom faucets, showers, bathtubs, bath/kitchen sinks, hot water heater, and toilets. Kitchen appliances and equipment such as dishwasher, refrigerator, freezers, cook tops/range/range hood, microwave, and food processing equipment for modified textured diets. Electrical equipment such as lighting that is enough for safety and completion of everyday tasks during the day and night, electrical outlets and switches, and concerns such as exposed or hanging wires and cords. Mechanical equipment and major appliances such as emergency equipment, washer, dryer, and items mentioned for kitchen above.
Heating & Cooling Systems | Heating and cooling systems are capable of maintaining temperatures in the facility 75 degrees F minimum in the heating season, and not exceed 80 degrees F during the non-heating season. Note: Portable unvented fuel and electric heaters are prohibited).
Resident care equipment is clean, stored properly, and maintained in a safe operating condition | May include but is not limited to: walkers, wheelchairs, hospital beds, oxygen tanks and concentrators, Hoyer lifts, CPAP machines, nebulizer equipment, and etc.
Call System Operable | Test call system for staff response. If applicable, verify the call system panel is operational. The call system shall connect residents' bedrooms and bathrooms to the live-in staff bedroom, or to a location accessible to staff (if no live-in staff). Call system is within reach of residents, easily activated with a single action, remains on until call is answered. Call system alarms are audible throughout the facility, and for live-in staff, the call system shall activate an audible and visual signal in the live-in staff bedroom.
Exit Door Locks & Door Alarms Operable | Exit door locks open using a single hand motion, without the use of keys, tools or special knowledge. Door alarms are operable and the sound shall be audible in the facility. If the system is connected to a panel, verify the panel works when the door alarm is triggered and is accessible to all staff. Note: If there is at least one resident that is disoriented or exhibits wandering behavior, a continuously sounding device shall be activated when an exit door opens to the outside.
Designated Smoking Area(s) | No smoking inside the building. Designated smoking area must be identified in the facility policy. The area is clean and safe with cigarette receptacle.
Fire Inspections and Drills | Fire inspection completed within the previous 12 months. Fire safety equipment is operational. Fire/exit door(s) are not obstructed or blocked. Fire safety concerns that have been identified have been addressed. Fire drills: For ACHs: Fire drills are to be completed on each shift once quarterly For FCHs: Fire drills completed 4 (four) times per year.
Ambulatory Status for FCH Only | Ambulatory vs. non-ambulatory and evacuation status of resident population as related to facility's license capacity.
Sanitation Score(s) | Current sanitation score(s) are congruent with Environmental Health Regulations. Reference 15A NCAC 18A .1600 for FCH & ACH with licensed capacity of 12 beds or less. Reference 15A NCAC 18A .1300 for ACH with licensed capacity of 13 beds or more. Adult Care Homes with 13 beds or more: Facility and kitchen sanitation scores shall be maintained at 85 or above. Adult Care Homes with capacity of 7-12 and Family Care Homes: Sanitation score shall be "Approved."
Outdoor Premise is clean, safe, and functional | Assess the facility's exterior grounds, walkways, steps, porches, stoops, sidewalks, ramps, handrails/guards, and eaves for cleanliness, safety and functional status. Outdoor areas are free from debris, trash, uneven surfaces, and similar conditions as not to attract rodents and vermin, and to provide for safe movement throughout facility grounds.
Odors | The facility is free of persistent and recurring odors that are considered by the residents to be unpleasant. This may include but is not limited to urine, feces, infected wounds, and moldy or musty smells.
Hot water temperatures maintained within range of 100 degrees F and 116 degrees F | The hot water temperature shall be maintained at a minimum of 100 degrees F and shall not exceed 116 degrees F at all fixtures used by or accessible to residents. Areas include but are not limited to common bathrooms, showers, whirlpools, tubs, bathroom sinks, individual resident’s rooms, and kitchen and utility room sinks.
Emergency Preparedness Plans | Adult Care Homes: Shall maintain plans in accordance with 10A NCAC 13F .0309 Family Care Homes: Shall maintain plans in accordance with 10A NCAC 13G .0316

## QA TOOL
Provider Quality Assurance (QA) Tool Adult Care Homes 10A NCAC 13F .0300 Physical Plant Family Care Homes: 10A NCAC 13G .0300 The Building
Facility Name: | Facility Name: | Facility Name: | Facility Name:
QA Date: | QA Date: | QA Date: | QA Date:
Staff Name: | Staff Name: | Staff Name: | Staff Name:
Concerns Identified?
Areas to Review | Yes | No | Areas of Concern
Facility is maintained in an uncluttered, clean, and orderly manner free of obstructions and hazards.
Furnishings are clean, safe, & functional.
Walls, ceilings, floors & floor coverings are clean, safe, and functional.
Mechanical, electrical, & plumbing equipment, and major appliances maintained in safe and operating condition
Heating and Cooling System(s)
Resident care equipment is clean, stored properly, and maintained in a safe operating condition
Call system
Exit door locks and door alarms
Designated smoking area(s)
Fire inspection & drills
Family Care Homes ONLY: Ambulatory vs. non-ambulatory and evacuation status of residents as related to license capacity.
Sanitation Score(s) Document current sanitation score(s) below:
Outdoor premise is clean, safe, and functional
Odors
Hot water temperatures within 100-116 degrees F. Document total number of fixtures checked:
Emergency Preparedness